Instructions to set Date & Time on SantaMedical Blood Pressure Monitor

Model # BW-210

With the unit OFF, please use a Large paperclip, toothpick or tiny screw driver to push into the hole on the top of the unit to click for the Date/Time Button.

Push down firmly. When you can feel or hear the click of the switch, release.

You will see the Year flashing on the screen .

Press the Memory button to advance the Year number.

(You are only able to advance the numbers forward and have to scroll around if passed)

Press the Power button when arrive at correct Year. (Power button moves the settings.)

The Month will be flashing in the upper left corner of the display.

Press Memory button to advance the Month number.

Press the Power button when arrive at the correct Month.

The Day will be flashing,

Please repeat the steps for Day, Hour and Minutes.

The monitor will reset to OFF after the Minutes are set.